Direct Hemoperfusion Using a Polymyxin B-Immobilized Fiber in a 754-g Neonate with MRSA Septic Shock

M. Sawada, S. Watabe, M. Saito*, S. Go, K. Yoshizaki, M. Kubota, A. Takahashi, Y. Nishida, Y. Arakaki

Department of Pediatrics, Kurashiki Central Hospital

Department of Clinical Engineering, Kurashiki Central Hospital*

Introduction

Septic shock is associated with one of the highest mortality rates among diseases, especially in premature babies. In these patients, septic shock is treated with antibiotics, γ-globulin, inotropic agents, and blood exchange. Direct hemoperfusion with a polymyxin B-immobilized fiber (PMX-DHP) is effective for septic shock treatment in adults. However, few studies report on PMX-DHP treatment for extremely low birth weight infants (ELBWIs), because appropriate tools have not been established for these children. We report the case of an ELBWI with septic shock treated with PMX-DHP.

Case

A 16-day-old male ELBWI with respiratory distress syndrome with gestational age of 24 weeks 3 days and birth weight of 709 g was treated with neonatal intensive care. On day 13, white blood cell count was 23,500/μL and C-reactive protein (CRP) level was 12.3 mg/dL. Vancomycin (VCM) and γ-globulin treatment was initiated. On day 14, the CRP level increased to 22 mg/dL and methicillin-resistant Staphylococcus aureus (MRSA) was isolated from the patient’s blood. MRSA showed sensitivity to VCM. MRSA septic shock was diagnosed. The patient underwent blood transfusion for 3 days, but his clinical course was not favorable. On day 16, blood pressure decreased significantly. Interleukin-6 level was 14,000 μg/mL. Endotoxin results were negative. We administered dopamine and steroids. Further, we performed PMX-DHP to treat septic shock. At this time, the patient’s body weight was 754 g. His femoral artery was cannulated with a 24G-needle for arterial access, and the great saphenous vein was used for venous return. We used PMX-01R (inner volume, 8 mL) and the dialysis machine TR-525. Total blood volume in the circuit was 39 mL. We used the anticoagulant nafamostat mesilate. Before beginning PMX-DHP, we performed intra-circuit dialysis. Next, we set the blood flow at 4 mL/min. The treatment lasted for 2 h. Blood pressure increased to 45 mm Hg. At the beginning of the treatment, the pressure of blood return increased, so we pumped blood into the vein with a syringe. No other complications, eg, hypothermia, coagulation disorder, intracranial hemorrhage, vascular access failure, and intra-circuit coagulation, were encountered.

# Comments

This job was edited by the Centre of Excellence of Medicine.

I have used the Title case in accordance with the style guidelines. I assume that MRSA has not been spelled out for space considerations. Please use the revised title for all future references.

Formatting: I have used the boldface for the title in accordance with the formatting guidelines.

Please note that I have changed the file type to a .doc format to comply with the formatting guidelines.

In accordance with the formatting instructions, the revised text does not exceed 470 words.

The formatting guidelines indicate that the document should be 8.5cm/3.35 inches wide and 10.5 cm/4.13 inches high. Since this specification is not conventional, I have not made this change. Please check if this is needs to be done. If so, please click on the “Size” tab under the “Page Layout” menu, click on “More paper sizes" at the bottom of the drop down list, and enter the values for width and height. then, click "OK".

Formatting: The formatting guidelines indicate that author name be represented with initial caps and lower case with initials for first names. I have made changes accordingly.

Formatting: The formatting guidelines do not specify how each author should be linked to his/her affiliation. Please check if the preferred style has been followed.

Conventionally, abbreviations are defined at first mention in the text, and the abbreviation is used at subsequent mentions. Please check the accuracy of the terms that I have introduced.

Is this correct?