## Slide 2
What are we trying to dialyse?
Fluid overload
Electrolyte balance (Na/K/Ca/Phos)
3) Acid base balance
4) Waste products (Urea / Ammonia)
5) Cytokines (sepsis)
6) Mystical blood purification

## Slide 3
Reasons for dialysis in PICU?
Fluid overload
Electrolyte balance (Na/K/Ca/Phos)
3) Acid base balance
4) Waste products (Urea / Ammonia)
5) Cytokines (sepsis)
6) Mystical blood purification

## Slide 4
Fluid overload is the major problem?
Mainly Sepsis , ARDS andCardiac disease Fluid overload major factor

## Slide 5
Fluid overload = mortality risk?
Sepsis 25% 37% 40%
3% mortality per 1% increase fluid overload
N=297 children
Multicentre

## Slide 6
Bigger dialysis dose is better?

## Slide 7
Bigger dialysis dose is better if sepsis?
RENAL STUDY (NEJM 2009) n= 1508 Adults 50% had sepsis (25 vs 40ml/kg/hr) No difference in survival
Target CVVH dose not always achieved (>12 to 16% of time)

## Slide 8
Dialysis mode vs dialysis dose?
Paed filter @ BFR 60ml/min
17% UFR of BFR
Ratio of BFR 60ml/min vs 30 ml/min
The more you drive the filter,
The more you get off

## Slide 9
Adult CVVH vs Paediatric CVVH
BLOOD FLOW RATES IMPORTANT
TO MAXIMISE CVVH EFFICIENCY
2) FILTER PERFORMANCE AT LOW BFR
QUESTIONABLE
3) LIMITATIOJN OF ADEQUATE BFR
(patient size)
4) RECIRCUALATION RATE S IN CHILDREN
HIGH (smaller space)
Efficiency of CVVH in children
may be limiting factor

## Slide 10
Blood flow rate issues in children: Efficacy
6 Fr = 2.0mm
12 Fr=4.0mm
Blood flow rate dependence:
Getting most of filter performance

## Slide 11
Why do things in small measures?
BIG IS BEST

## Slide 12
Weight Weight
Adult CVVH BFR zone
10/kg/min
5/kg/min
2/kg/min
BFR ml/min
BFR ml/kg/min