## Slide 1: Common Prescription Errors in Pediatric CRRT: a “Top 10 List”
Jordan M. Symons, MD
University of Washington School of Medicine
Seattle Children’s Hospital
Seattle, WA - USA
8th International Conference On
Paediatric Continuous Renal Replacement Therapy (pCRRT)
16th - 18th July 2015
Queen Elizabeth II Conference Centre, London, UK

## Slide 2: Prescribing Pediatric CRRT
Multiple components to CRRT prescription
  Vascular access
  Hemofilter
  Prime
  Blood pump speed (QB)
  Anticoagulation
  Modality (convection/diffusion/combination)
  Infused fluids – rate and content
  Ultrafiltration rate
Planning ahead may reduce risks

## Slide 3
“Top 10 Things You’d Rather Not Say When Prescribing CRRT”

## Slide 4: “We can dialyze through any access you have”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 10

## Slide 5: Vascular Access Issues
Long skinny catheters don’t flow well
  Resistance ~ 8lη/2r4
  Umbilical lines are a poor choice
“Dialysis-grade” catheters necessary
  Stiffer catheter – won’t collapse
Newer technologies – more options?
Importance of communication with those who will place vascular access

## Slide 6: “Aren’t all those filters pretty much the same?”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 9

## Slide 7: Hemofilter Issues
Risks for complications (extracorporeal volume, membrane reactions)
Plan ahead – develop standard approaches to common clinical situations
Characteristic | Options
Prime Volume | <30 ml to >180 ml (incl. tubing)
Surface Area | 0.25 m2 to 1.4 m2
Membrane Material | Polysulfone, AN-69, PAES, etc.

## Slide 8: “Just blood prime the baby, it’s easy!”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 8

## Slide 9: Circuit Priming Issues
Saline, blood/albumin, albumin alone (?)
Technical challenges – need policies, protocols, practice
Risks to patient:
  Volume/blood pressure
  Blood product exposure
Develop plans, adjusting appropriately for the clinical situation

## Slide 10: “Blood pump speed – isn’t there an equation for that?”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 7

## Slide 11: Blood Pump Speed Issues
Calculation: | Table:
3-5ml/kg/min | 0-10 kg: 25-50ml/min 11-20kg: 80-100ml/min 21-50kg: 100-150ml/min >50kg: 150-180ml/min
Suggested methods to determine blood flow rate (QB) for pediatric CRRT have included:
The real determinant – the vascular access
Plan ahead based on your access, device requirements – doctors, ask the nurses!

## Slide 12: “Citrate – it’s just like heparin, only safer”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 6

## Slide 13: Anticoagulation Issues
Understand your protocol(s)
Teach your colleagues (physicians and nurses) about potential complications
Advanced planning and careful monitoring will limit problems
Heparin | Citrate | Prostacyclin
Bleeding Heparin-induced thrombocytopenia | Citrate accumulation Acid/base problems Calcium abnormalities Blood flow/clearance rate discrepancies | Hypotension Cost

## Slide 14: “Talking to the pharmacist and the nutritionist makes me anxious . . .”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 5

## Slide 15: Convection Favors Loss of Larger Molecules
Small molecules and drugs
Middle molecules and drugs
Larger molecules and drugs
CRRT prescription without thoughtful consideration of nutritional needs and medication requirements puts patients at risk for poor outcome
Very large molecules and drugs

## Slide 16: “There’s a label on the solution bag? I’ve never read that . . .”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 4

## Slide 17: Issues with the Biochemical Profile of Infused CRRT Fluids
Patient’s blood chemistry approaches that of infused fluids
Errors in fluid content (mixing or inappropriate choice for situation) can lead to significant abnormalities
x
x

## Slide 18: “Infused fluid rate – there’s an equation for that too, right?”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 3

## Slide 19: Issues with Infused Fluid Rates
2000 – 3000 ml/hr/1.73m2
Effluent flow (infused fluids + UF) approximately equals CRRT clearance
  Unlike IHD, solution rate is limiting factor
  Too low: poor clearance, accumulation of unwanted molecules (e.g. citrate)
  Too high: more loss of electrolytes, drugs
Consider your patient and clinical goals when prescribing fluid rates

## Slide 20: “I’m sure we can achieve any UF target you want”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 2

## Slide 21: Issues with Ultrafiltration

## Slide 22: Issues with Ultrafiltration
Overly aggressive UF:
  Hypotension, additional volume to patient
Insufficient UF:
  Persistent volume excess; hypertension
Thoughtful consideration of clinical goals and careful communication between services will prevent complications

## Slide 23: “CRRT? For this kid? Sure, whatever you want . . .”
Top 10 Things You’d Rather Not Say When Prescribing CRRT
Number 1

## Slide 24: Is CRRT Always the Right Choice?
A powerful, life-saving therapy
BUT – not without risks
Consider options carefully, individually:
  Peritoneal dialysis?
  Intermittent HD?
  Conservative management?
  CRRT?
Do what is best for your patient

## Slide 25: Thanks for your attention!
Tim and Akash have some fun on set with Dave